INSPECTION REPORT

Langsdorf Express

Langsdorf Hall 204

Inspector: Scott Bourdon

Inspection Date: December 1, 2006

Re-inspection Date: February 1, 2006

Type of Facility: Restaurant

Grade: C

Major Deficiencies

No major deficiencies noted.

Minor Deficiencies

7 Points: Remove unnecessary articles from food preparation area.  Store the mop and bucket in an approved custodial area.  Coordinate with Custodial Services.

5 Points: Maintain ceilings and walls that are properly repaired.  A section of drywall has been missing in the northwest corner, a new penetration is located around the new HVAC ducts, and several ceiling tiles have been removed.

3 Points: Maintain potentially hazardous food at appropriate temperatures during cold holding (41° or less for foods in storage).  The chopped chicken in the Superior® cooler underneath the front line registered a temperature of 45°.

2 Points: Maintain floors that are properly cleaned, constructed, drained, installed, and repaired.  The floor beneath the front line beverage dispenser is deteriorated with holes and exposed particle board.  Also, the laminate floor in the northwest corner should extend to the wall and ensure floor drains are flush with the floor.

2 Points: The electrical panel closet should not contain any stored items and the door should be labeled.  This area contained a ladder and other items and the door is not labeled.

1 Point: Train all employees on the use of chemical test strips to determine whether sanitizer concentrations are appropriate.  The employee responsible for washing dishes did not know where to find the test strips or how to use them.

1 Point: Provide a thermometer in each cooler that contains potentially hazardous food.  Both milk coolers in the front are missing a thermometer as is one of the Superior® coolers under the front line.

1 Point: Remove tripping hazards.  The electrical cord protective casing running through the service area presents a tripping hazard.

Other Observations

Cloth Sanitizer: Quaternary Ammonia

Concentration:  NA

Dish Sanitizer: Quaternary Ammonia

Deli Meat (front line): 45°

Chopped chicken breasts (Superior® cooler in under front line): 45°